# Greater Augusta Utility District

# NEWWA Backflow Prevention Device Assembly Test Report Form

Owner of Property 		Date________________ Time ______________

Mailing Address		Tested by

Certificate #

(City,Town)	(Zip)

Contact Person  		RPZ  DCVA	PVB SRVB 

Make ____________ Model No. ____________

Device Address and Location		Size			Serial No. _________

_____________________________________________________________ 	Test After Installation	

Device Identification Number _____________________________________	Test After Repairs	

Annual Test	

Test Kit Serial # ________________Calibration Date__________________	Other ___________________	

| Reduced Pressure Backflow Prevention Device Assembly (RPZ) |  |  |  |  |  |  |  |  |  | Pressure Vacuum Breaker (PVB) Spill Resistant Vacuum Breaker (SRVB) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Check Valve No. 1 |  | Check Valve No. 2 Tightness |  |  | Flow Condition Evaluated |  | Relief Valve DP Opening Point |  | Check Valve No. 2 DP | Check Valve DP | Flow Condition Evaluated |
| Closed Tight  Leaked  |  | Closed Tight  Leaked  |  |  | Flow  No-Flow  |  | Opened at PSID __________.___ Did Not Open  |  | ________.___ PSID | ________.___ PSID | Flow  No-Flow  |
| ___________.__ PSID |  |  |  |  |  |  |  |  |  |  |  |
| Double Check Valve Device Assembly (DCVA) |  |  |  |  |  |  |  |  |  | Air Inlet Valve DP Opening Point |  |
| Backpressure Test |  |  | Check Valve No. 1 DP |  |  | Check Valve No. 2 DP |  | Flow Condition Evaluated |  | Opened at _________.______ PSID Did Not Open  |  |
| TC#1 PSI | TC#4 PSI |  | _______.____ PSID |  |  | _________._____ PSID |  | Flow  No-Flow  |  |  |  |
| At the time of the test, the downstream shut-off valve was: Closed Tight Leaked  Not Tested  |  |  |  |  |  |  |  |  |  |  |  |
| Line Pressure ___________PSI |  |  |  | Protection Type: Service Line @ Meter  Fire Service Line  |  |  |  |  |  |  |  |

| Signature of Certified Tester | PASS FAIL OTHER  |
| --- | --- |
| Test Witnessed by: Water Works Official Owner Agent Original to Greater Augusta Utility District Paul Lamoreau Jr. – plamoreau@gaud.ws | Remarks ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________ ____________________________________________________________ |
|  | Service Restored  |